Data Archives for PETRA and HERAe

Winfried Schütte

Deutsches Elektronen-Synchrotron DESY

Notkestr. 85, D 22603 Hamburg, Germany

schuette@desy.de

Abstract

The new PETRA Control System is based entirely on use of PC hard- and software. PETRA is operated by the new controls under routine machine conditions since spring 1996. The specific solution for the Data Archives will be explained. Application program package features and structure as well as first operational experience will be reported. Program portability for the use in the PC-based controls of the HERA e-ring is demonstrated.

Most relevant data for the operation and control of the accelerator is send with standardised IPX calls. Any subset of those data can be stored with an archive system at a rate of up to one Hertz. Archivation can be done at certain time intervals and/or on a specified relative/absolute value change and/or for values within a specific range. Archivation can be made dependent on the state of the accelerator like injection and of the accelerated particle type. An example would be to store the values of the proton injection orbit, which differed from the last stored injection value by at least 0.5 mm, or to store the vacuum values which changed by at least 50%. The definition of the archivation is completely given by entries in a database. Archiving can be done in quasi infinite tables or on a first in first out basis in tables of a defined depth. Both the definition of archiving and the archiving itself is done with Microsoft Access 2.0® as a database. For PETRA archivation we are starting to touch the limits and investigate SQL Server as a full grown client server database on Windows NT. In the future the user interface will be a WWW interface.

1. Introduction

The PETRA control system and also the HERA-e control system is based on a LAN of Windows 3.1 PCs with a Novell file servers. The only communication protocol is IPX. All the applications are written in Visual Basic 3.0. Even the device servers are true Windows applications. For the IPX communication a visual basic extension (VBX) was written [1]. It allows transmission of integer and single arrays, of strings, of two special formats for hardware access and of a cycle message format. The cycle message format allows a synopsis of the most relevant machine data. Information that is considered useful by many users of the PETRA/HERA-e segment is sent by way of broadcast. This means that the machine status is available on the net to anyone. No special request or registration on the sending PC is necessary. A special message is the cycle message. It contains the most important information of PETRA, and the time and a unique number, the cycle number. It is sent at a rate of one to two Hertz. Most broadcasts are sent as a direct response to the cycle message. Changing the rate of the cycle message changes the network traffic and the reaction time of the entire system.

2. Defining the Archivation Process(es)

As part of this control system an archiving system was built. Any defined subset of the broadcasted data can be stored under defined conditions to Access databases by as many as necessary servers. The definitions are kept in an Access database. Following examples should be realisable by the archivation system just by editing database tables: Storage of the DC beam current every minute. Storage of the last 1000 vacuum pressures that changed by at least 50%. Storage of the values of the proton injection orbit, which differed from the last stored corresponding value by at least half a millimetre. Each of those examples we call an archivation. The set of all archivations of PETRA data we call the PETRA archivation. Each archivation is represented as a record in an archivation table that has enforced relations to other tables to precisely define the details. Every archivation has the following information: a unique archivation name, a reference to the archivation server, the data definition, the particle type (optional), the machine status (optional), a history filter reference (optional), a data taking interval (optional), the maximum number of stored values of a particular type (optional), a reference to the data output location and auxiliary information (partly optional). Let us first look how the data definition of the archivation is realised with the help of the detailing tables.

2.1 What information to store and how to get it?

Any information on the PETRA net segment is uniquely defined by an id, a format type and an index. The id is an eight character string sent with all of our IPX messages. An example would be „PX_All“ for the position in horizontal direction for all beam position monitors. The format would be a string of floats; one for each measured position. The index would be the i’th element. For example the 26’th element contains the position “SL 141“. The information can be most naturally administered in a master table of IPX ids and a detail table with the interpretation of all indexes for each format.

Additions, removal and significant change in the equipment lead to a different way of using the IPX format. The consequences are different table entries. These tables only reflect the format at the time they are used. They are not history aware. The archiving system should be able to deal with last years' data too. In other words: One wants a backward compatible model for the archive data representation.

The ids are not only related to data belonging together, but also to hardware implementation. For example there are 277 getter pumps in PETRA, which are treated by two different device servers, both having different ids for the same type of values. One gets 93 vacuum values for the north half and 164 for the South half of the ring. The archiving system should be able to treat all those values simply as PETRA vacuum getter pump pressures. In other words: One wants the ability to have a logical archive data representation.

Both arguments lead us to use a separate internal and external model for the data. All the getter pump pressures have the internal data name „GP“. They are all of data type single and have the unit mBar. In a detail table there is a list of all components belonging to the data name „GP“ and an external key into the list representing the data sent by the IPX. If a pump is removed one only has to remove the foreign key entry and the corresponding record in the IPX id detail table. The archivation process involves selection and reordering of data.

In the internal data model there are two types of data scalar and vector data. The DC beam current is scalar. At any time there is only one measurement of it. The 277 getter vacuum pressures are vector data. For data marked as scalar data in the master table the corresponding index of the component will not be stored.

2.2 When to Store the Information?

It is not desirable to archive or even look at all the specified information each time it is sent into the net. For example the getter pump pressures are only interesting to look at, at a rate of every ten seconds. This is accomplished by an entry in the master table of the IPX ids. Such a strategy saves data processing power at an early stage. Next some information is only interesting, if there is the right kind of particle in the machine. For example a fine grained archivation of the lifetime is necessary only, when there are leptons in the ring. For the particle type one has the choice of: any, protons, leptons, electrons or positrons in the machine. Next some information is only interesting, when the machine is in the right state. For example a proton injection orbit requires the machine to be in injection mode with current. For the machine state one has the choice between any or only injection, ejection, ramp up, ramp down. Each choice can be supplemented by „with current“. It is simple to implement more choices, but it requires to change code in the archivation server program.

Now lets assume the particle in the machine is right and the machine is in the correct state. Still one does not want to store all values at a one Hertz rate. The simplest way of reduction is to introduce fixed intervals of storing. For example store the machine current every sixty seconds. Allowed is everything between one and 32767s (a little more than nine hours) and no fixed interval at all. The data are tried to be taken at the same time for every fixed interval of the same length. Data taking with a one minute interval is always at the exact minute. Data taking with a twenty minute interval is due at the exact hour, the exact hour plus twenty minutes and the exact hour plus forty minutes. If data taking is late relative to the wanted time, then the value is stored immediately. The disadvantage is an extra load imbalance on the server. But standard target times make it easy and efficient to correlate different channels like current, lifetime and energy, since the data taking times should be exactly equal for equal time intervals.

The fixed interval data taking has two potential problems. First one is blind between the intervals. Second some channels, as the particle type, stay constant for long times. Choosing the data taking interval leads to a trade-off between redundant data and out of date data. Therefore an alternative means of choosing on storing a value is provided. This is the so called immediate history filter: Any data can be specified for storage when the value changes. This is ideally suited to the particle type channel. Numeric data can be specified for storage when the value changes a minimum amount (good for „linear channels“) or the value changes a minimum percentage relative to the current value (good for „logarithmic channels“)[2]. A typical linear channel is the beam position and a typical logarithmic one the vacuum pressure. Also the range of tracked values can be restricted with optional minimum and optional maximum values. The first time a value exceeds the limits, it is stored. No more values will then be stored until the first one that is again within its limits. Range restriction allows to ignore the data of a DC current archivation with 10% resolution, when there are no particles in the machine. The noise of the DC transformer is usually not interesting. Range restriction is also a low level implementation of limiting data to their physical range. The filter is implemented in such a way, that one can define a default and add for some special channels different values. This allows for example to cope with noisy vacuum pumps, but still be able to refer to an „UHV50%“ filter as a single entity in the definition of the archivation

Another problem to solve for history filtered data is signalling that a particular archivation stopped. This might be due to the breakdown of the corresponding device server or to a pause of the archivation server itself. Here the convention is to fill a Null value right after the last known valid time. This is done in the following situations. First an IPX message of a special id does not occur within the specified time-out. Second the archivation server is shut down in an orderly fashion. At the start up of the archivation server, it is checked that all entries end with a Null. If it is necessary they are added with a timestamp immediately following the last valid one. Such important operations as shut down of an archive server and such important incidents as a lack of IPX messages are logged. But it is sufficient to look at the data to get a valid picture.

2.3 Where and how to store the information?

The way this decision is dealt with is heavily influenced by using Access and not using direct files or a full grown client server database. Here we use a table for each archivation. The table name is by definition equal to the archivation name. The only choice left is how to divide the tables over different databases. This allows to control the size of different database files and to keep some logic in the organisation. The table format itself is simply timestamp, data index (only for vector data), value. The timestamp is the time at data taking as given by the cycle message. It is coded in seconds since a fixed time. As opposed to the famous UNIX timestamp it does not take account of daylight savings times. This means loss of one hour of archivation data each year, but makes it for everybody a lot easier to use. The table per archivation approach is viable, because all data are of the same atomic data type (Integer, Single or Float). In Access very long tables do not perform that well.

Any database that is corrupted gets on restart automatically repaired. Any non existent database files or tables will automatically be created including the indices. The counting of the archivation channel entries is done with a special table at archivation start-up. The table is computed using the data themselves. Any first reference of an element will be looked up in the table. The following references use counter arrays in main memory. Since all archivations use exclusive write privileges on a table this leads to efficiency and consistency. The system dynamically adapts to an increase in the specified table depth but not to a corresponding decrease. The archivation server appends and edits records but never deletes any.

3. Performance, Tools and Outlook

It is no problem to handle 100 MByte of data in 40 archivations distributed over ten database files. But somewhere around 150 MByte the jet database engine of Visual Basic 3 gets unstable and shows strange behaviour. With the Acces solution we can not keep last years PETRA data and add this years to it. With this restriction in mind only one archivation server PC per machine is sufficient. 92% of all messages are handled within one second, 99% within five seconds and 99.9% within 9 seconds. The archivation server runs reliably at a many weeks basis. It is shut down for doing a manual backup roughly once a week. As long as the archivation server is running the database files are open and cannot be copied under Novell.

For viewing the data a tool is provided. The user chooses an archivation, and the time scale. The tool tries to retrieve 300 corresponding data values. Important is the visualisation of gaps in data taking (for fixed time interval archivations) and the visualisation of non valid data (Null). Gaps lead to dashed lines. Times of no data have no line at all. The last and first valid points around it are emphasised by circles. Values out of the plot range are treated as non existent values. Those values frequently appear due to the device server signalling invalid data. The archivation system does not translate private invalid values, especially not to Nulls. Up to eight archivations can be viewed in one plot in parallel and up to ten plots are allowed. All values are correlated against time and not each other.

Future tasks would be a program interface to the archivation. It is hoped that with Visual Basic 5.0 a versatile OCX or OLE Server can be written. We are right  investigating SQL Server a full grown client server database for Windows NT. As a user interface for retrieving data a WWW interface is planned (relatively easy, just tedious work). We also observe the emerging Web tools for plotting the archivation data.

4. References

Martin Peters , “Extensions for Visual Basic”, Poster A18) in this workshop

The necessity for a relative filter for vacuum data was pointed out to me by Kay Rehlich of DESY.

5.

Appendix

Figure 1: Definition database layout.

The central table is the archivations table. Data and data details refer to the internal data model. IPX and IPX details refer to the external data model. The filter table gives names to history filters, which are defined in the filter details table. After any change a preassambled table is created for the archivation servers (see figure 2).

Figure 2: Definition of the preassambled table for the archivation servers.

This table is preassembled for speed of initialisation. Also it is easy to implement defaulting for filters in such a way.

Figure 3: Viewing tool for the database.

As an example one can see the PETRA current (above) and the PETRA energy (below). The data were archived at a one minute interval. Here are shown three days. In the energy curve one can see a break in valid data. It is visualized by an interrupted curve surrounded with data points highlighted with circles.

# Footnotes

This means there is no IP on the Net.

see figure 1 in the Appendix

South Left at 141m

If anyone is interested in only the pressures of pumps, which are exposed to much synchrotron radiation. One would just have to invent a new data name, maybe „GPhighSy“ and add in the detail table the list of the corresponding getter pumps. It is possible to combine any data, as long as it's available on the same segment of the net and it has the same atomic data type like single, integer or string. Though multiple data usage is possible only single usage is recommended. It costs explicit effort to keep the mappings consistent for each usage. Should this prove to be extensively needed, we would add another indirection in our data model.

Precisely: PETRA is used as a storage ring for HASYLAB synchrotron radiation experiments.

Though one is by definition not interested in the value itself, it is necessary to store it (or any other non valid value) to flag that the previously stored value is no longer valid.

An Ultra High Vacuum filter that requires a relative change of values of 50% (default) and allows a reasonable pressure range (10**-15 to 10**-3mBar).

Special database value with the meaning of undefined, which is by design different from any possible valid entry.

Reasons are hard archive device server failures (like loss of wall plug power or major Ethernet problems) in the middle of the transaction.

For vector archivations one also has to specify the component (for example vacuum pump „NWL 127“)